WAUKESHA COUNTY VILLAGE OF OCONOMOWOC LAKE STATE OF WISCONSIN

AN ORDINANCE FOR
THE BUILDING CODE
FOR THE VILLAGE OF OCONOMOWOC LAKE

All existing previously enacted building codes in the Village of Oconomowoc Lake are hereby repealed.

BUILDING CODE CREATED

An ordinance creating a Building code for the Village of Oconomowoc Lake and subsequent amendments are as follows: (Ordinances 173, 241, and 304)

14.01 BUILDING CODES ADOPTED.

(1)	WISCONSIN ADMINISTRATIVE CODE. Except as otherwise specifically provided in this Ordinance, the current and future provisions describing and defining regulations with respect to building in the Wisconsin Administrative Code are hereby adopted and made a part of this chapter by reference as if fully set forth herein. Any act required to be performed or prohibited by any current or future provision incorporated herein by reference is required or prohibited by this Ordinance. Any future additions, amendments, revisions or modifications to the regulations incorporated herein are intended to be made a part of this Ordinance in order to secure uniform state-wide regulation of building in the State. In the event that there is a conflict between codes and/or interpretations, the most restrictive code and/or interpretation shall be enforced. The adopted code herein includes, but is not limited to the following:

- Chapters SPS 320-325 "Uniform Dwelling Code" (referred to herein as "Wisconsin Uniform Building Code")..

- Chapters SPS 361-366, “Commercial Building Code”.

- Chapters SPS375-379. “Existing Building Code”.

- Chapters SPS 380-387, “Uniform Plumbing Code”.

- Chapter SPS 316, “Electrical Code”.

- All other chapters of the Wisconsin Administrative Code applicable to the protection and maintenance of the public's health, safety and welfare as enforceable by the Village.  All amendments, changes and interpretations of the Wisconsin Administrative Code shall hereby be adopted as of their effective date of issuance or publication.

- SCOPE.   No person shall perform, and no homeowner shall authorize others to perform, any repairs, alterations, modifications, changes, additions, or new construction in the Village of Oconomowoc Lake, regardless of the cost of the project, unless and until a building permit has been issued from the Village Building Inspector; with the exception that if said work is being done entirely by licensed contractors, a building permit is only required if the cost of the project exceeds $10,000. A building permit is not required for routine minor maintenance that do not include structural modifications or items such as floor coverings, wall coverings, cabinets, decorating, and the like, that do not include structural modifications. Although pursuant to the Zoning Code in most instances no building permit may be issued until the property has an approved certified survey map, the Village Administrator is hereby authorized to make a determination using his best judgment as to whether the proposed repair, alteration, modification, change, or other action are of a routine minor maintenance nature that a building permit is not necessary and therefore, a certified survey map is not necessary. An example of such a change includes but is not limited to electrical outlet installation and other similar non-structural changes. If there is a question as to whether or not a building permit is necessary and/or a certified survey map is necessary, the initial determination in this regard shall be made by the Village Administrator. Changes subsequent to the initial issuance of a building permit which would result in a need to change the permit shall require a new permit.

- FEES.   At the time of issuing any permit required under this chapter, the Wisconsin Statutes, Wisconsin Administrative code and/or the Wisconsin Uniform Building Code, the Building Inspector shall charge a fee as indicated hereafter or as indicated in the Wisconsin Uniform Building Code, except, where both provide a fee amount, the Inspector shall charge the greater of the Wisconsin Uniform Building Code or the fees as indicated hereafter. Fees shall be based on the actual cost of the repair, alteration, modification, change, addition, new construction, or other action involving structural modifications paid or to be paid by the property owner to the contractor or, if the work is being done by the property owner, the actual cost that the property owner would need to pay if he/she had hired outside contractors to do the work.

2

- SCHEDULE OF PERMIT FEES. Fees shall be set by the Village Board by separate Resolution, which may be amended from time to time by Resolution of the Village Board.

- ARCHITECTURAL CONTROL BOARD. Structural modifications, new construction or other proposals that warrant Architectural Control Board review are to be coordinated through the Village Administrator. Plans should be available for review at least one week prior to the Architectural Control Board meeting (31d Monday of each month). These plans shall include setback measurements, topographical elevations and wetlands, if applicable. Any changes subsequent to the initial approval of the Architectural Control Board must be approved by the Architectural Control Board.

14.02 BUILDING DEMOLITION.

- PERMIT REQUIRED. Prior to the demolition, razing or removal of any building in the Village where utilities are involved, a permit shall be issued, therefore, by the Village Administrator upon payment of the fee as set by resolution of the Village Board from time to time and on file in the office of the Village Administrator.

- NOTICE TO UTILITIES. Before such permit shall be issued, the Village Administrator shall be satisfied that the owner or his agent has notified in writing all utilities having service connections with the building of his intention to so raze such building at least five days prior to the commencement of the razing, demolition or removal.

- SERVICE CONNECTION SEALED. The Village Administrator or Building Inspector  shall further establish and ascertain that all service connections and appurtenant equipment has been removed or sealed and plugged in a safe manner.

- EXCAVATIONS FILLED. Excavations shall be filled with solid fill to match lot grade within 30 days of removal, of the structure. Such excavations shall be protected and enclosed with appropriate fences or barriers and lights, if required by the Building Inspector. If any premises are connected to sewer or water facilities that are to be abandoned, then the following shall apply:

- Septic Tanks. Any septic tank or distribution box on premises shall be pumped dry of its contents and filled with sand and compacted.

- Wells Filled. Any well on the premises shall be permanently abandoned by completely filling with concrete. Any pipe, pump or equipment inside the well or conduit shall be removed before filling with concrete.

14.03 BUILDING INSPECTOR.

- The Village Board shall appoint the Building Inspector. The Building Inspector shall be compensated as determined by the Village Board. The Building Inspector shall be subject to removal from office by the Village Board.

- The Building Inspector shall supervise and approve inspected work, whether repairs, alterations, modifications, changes, additions, new construction, or any other actions involving structural modifications occurring with the Village of Oconomowoc Lake.

- The Building Inspector shall keep complete records of all inspections.

- The Building Inspector shall assist the Village Attorney in prosecution of code violations.

- The Building Inspector and/or Village Administrator shall be permitted access to premises and structures to make those inspections as deemed necessary by him/her to ensure compliance with this code.

- The Building Inspector and/or Village Administrator shall prohibit the use or erection of any structure, land or water, until he/she has inspected and approved such use or erection.

- The Building Inspector and/or Village Administrator shall request assistance and cooperation from the Village Police Department and Village Attorney as deemed necessary.

14.04 NOTICE TO PROPERTY OWNER. In addition to the requirements of this Ordinance, the property owners are hereby put on notice that they are subject to all other rules, laws, ordinances and regulations of the Village of Oconomowoc Lake, Waukesha County, State of Wisconsin, and federal government, including but not limited to, the Zoning Code, Subdivision and Platting Ordinance, Shoreland-Wetland Zoning Code, and Erosion Control Ordinance. The property owner is hereby advised that obtaining a building permit in no way relieves the property owner of satisfying all terms and conditions of all rules, laws, ordinances and regulations of the Village of Oconomowoc Lake, Waukesha County, State of Wisconsin, and federal government.

14.05 PENALTY.

(1)	Except as otherwise provided in this chapter, any person found to be in violation of any provision of this chapter or any rule or regulation adopted hereunder shall be subject to a penalty as provided in s.25.04 of this Municipal Code.

(2)	If section 25.04 of this Municipal Code has not been adopted by the Village Board, then any person violating the provision of this Code, shall, upon conviction of such violation, be subject to a penalty, which shall be as follows:

- First Offense. Any person who shall violate any provision of this Ordinance shall upon conviction thereof, forfeit not less than $20.00 nor more than $500.00, together with the costs of prosecution, and in default of payment of such forfeiture and costs of prosecution shall be imprisoned in the County jail until such forfeiture and costs are paid, but not exceeding 90 days.

- Second Offense. Any person found guilty of violating any provision of this Ordinance who has previously been convicted of a violation of the same provision within one year, shall forfeit not less than $20.00 nor more than $500.00 per day for each such offense, together with the costs of prosecution, and in default of payment of such forfeiture and costs shall be imprisoned in the County jail until such forfeiture and

costs are paid, but not exceeding 6 months.

- Continued Violations. Each violation and each day a violation continues or occurs shall constitute a separate offense. Nothing in this Code shall preclude the Village from maintaining any appropriate action to prevent or remove a violation of any provision of this Code.

14.04.5 OBLIGATION TO MINIMIZE ADVERSE IMPACTS.

Activities regulated by the Village of Oconomowoc Lake Building Code shall be conducted in a manner that minimizes the noise and other adverse impacts upon surrounding properties, consistent with the residential character of the Village of Oconomowoc Lake. This obligation includes, but is not limited to, limiting the conduct of the activities to the following times, unless otherwise authorized by the Village Administrator or the Village Administrator's designee: The activities shall not begin before 7:30 a.m. on weekdays (Monday through Friday), and 9:00 a.m. on Saturdays; the activities shall not continue beyond 5:00 p.m. during weekdays and 4:00 p.m. on Saturdays; and no such activities will take place on Sundays or holidays. The Village Administrator, or the Village Administrator's designee, may authorize a waiver to the requirements of this Section where, in the opinion of the Village Administrator or their designee, such a waiver is necessary due to emergency; to promote the public health and safety; or where literal compliance would cause undue hardship. A waiver granted under this Section may include such conditions as, in the opinion of the Village Administrator or the Village Administrator's designee, are necessary under the circumstances to promote the intent of this Section.

SECTION THREE SEVERABILITY

The several sections of this ordinance are declared to be severable. If any section or portion thereof shall be declared by a decision of a court of competent jurisdiction to be invalid, unlawful, or unenforceable, such decision shall apply only to the specific section or portion thereof directly specified in the decision, and not affect the validity of all other provisions, sections, or portions of the ordinance which shall remain in full force and effect. Any other ordinances whose terms are in conflict with the provisions of this ordinance are hereby repealed as to those terms that conflict.